All experiments were performed using an Olympus IX71 microscope, infinity corrected Olympus 60x 1.2 NA water or 100x 1.4 NA oil objective, an Andor Ixon CCD camera, a MadCity Labs NanoBio2+Nano-Z100 piezoelectric stage, and an Optical Insights dual view apparatus with a modified cassette. The final effective pixel size of the camera was between 100-250 nm depending on total magnifications. The modified cassettes which combine all the necessary optics into a single modular piece, based on our design, are now available from Optical Insights.